# SuperDARN – Daily Checks

Check the following at least oncce every day to ensure that the radar is working properly:

1. Navigate to `/data/ros/fitact/` and confirm that the latest data file is growing.
2. Run the command: `screen -x`. Verify that the radar software is running.
3. Use SCP and log into the SANRAD server. Make sure that the previous day's data transferred correctly. The transfer script is located at `/home/radar/transfer\_data/script/sanrad\_new`.
4. The size of daily data files can vary, but should be between 10 MB and 20 MB, more or less. Very small data files might be a sign that the radar is running at low power.