## Equipment IP's
Cisco Switches VLAN assignent on switchport interfaces
Equipment | Interface/ VLAN # | IP address | Default gateway | DNS Address 1 | DNS address 2 | Loopback address | Username | Password | Device Role | Location | Software/ OS | Host Name | Serial Number | MAC Address | Version ID | Product ID | Manufacturer | Model | DEA Bar code | Domain name
Core_Switch-Sw01 (stacked switch) | VLAN 5 | 172.18.5.2/24 | 172.18.5.1 | 172.18.0.10 | 172.20.0.10 | 2.2.2.2/32 | Cisco | Cisco | L3 switch | Radio Server room | 12.2(40)SE (IPBASEK9) | Marion-Island-Core-SW01 | CAT0938R5A3 | 00:15:C6:1B:63:00 | V04 | WS-C3750G-12S | Cisco | Catalyst 3750 Series | N/A
Core_Switch-Sw01 (stacked switch) | VLAN 5 | 172.18.5.2/24 | 172.18.5.1 | 172.18.0.10 | 172.20.0.10 | 2.2.2.2/32 | Cisco | Cisco | L3 switch | Radio Server room | 12.2(40)SE (IPBASEK9) | Marion-Island-Core-SW01 | FOC0938U2AS | 00:15:63:D6:08:80 | V02 | WS-C3750G-24TS-1U | Cisco | Catalyst 3750G Series | N/A
ScienceBlock-Sw01 (stacked switch) | VLAN 5 | 172.18.5.3/24 | 172.18.5.2 | 172.18.0.10 | 172.20.0.10 | 3.3.3.3/24 | Cisco | Cisco | L3 switch | ScienceBlock server room | 12.2(40)SE (IPBASEK9) | Marion-Island-Sci-GF-SW01 | FOC0938U1UE | 00:15:63:D5:A5:00 | V02 | WS-C3750G-24TS-1U | Cisco | Catalyst 3750 Series | N/A
ScienceBlock-Sw01 (stacked switch) | VLAN 5 | 172.18.5.3/24 | 172.18.5.2 | 172.18.0.10 | 172.20.0.10 | 3.3.3.3/24 | Cisco | Cisco | L3 switch | ScienceBlock server room | 12.2(40)SE (IPBASEK9) | Marion-Island-Sci-GF-SW01 | FOC0938U2AD | 00:15:63:E4:0B:80 | V02 | WS-C3750G-24TS-1U | Cisco | Catalyst 3750 Series | N/A
HeliHanger-Sw01 | VLAN 5 | 172.18.5.5/24 | 172.18.5.2 | 172.18.0.10 | 172.20.0.10 | 5.5.5.5/32 | Cisco | Cisco | L3 switch | Heli Hanger server room | 12.2(35)SE5 (IPBASE) | Marion-Island-Hellie-SW01 | FOC0914U0JC | 00:13:C3:5B:78:80 | V02 | WS-C3750G-24TS-1U | Cisco | Catalyst 3750 Series | N/A
SatDome-Sw01 | VLAN 5 | 172.18.5.4/24 | 172.18.5.1 | 172.18.0.10 | 172.20.0.10 | 4.4.4.4/32 | Cisco | Cisco | L3 switch | Satelite Dome | 12.2(40)SE (IPBASEK9) | Marion-Island-Satelite-Dome-SW0 | FOC0938U2A0 | 00:15:63:E4:14:00 | V02 | WS-C3750G-24TS-1U | Cisco | Catalyst 3750 Series | N/A
TechnicalBlock-Sw01 | - | Unmanaged switch | N/A | N/A | N/A | N/A | N/A | N/A | Layer 2 switch | TechnicalBlock Rack | N/A | N/A | 0400/LRWG2V0240169 | N/A | N/A | N/A | 3COM | 3C16791 | N/A
Accommodation-Sw01 | Removed from the network | Removed from the network | N/A | N/A | N/A | N/A | N/A | N/A | Layer 2 switch | Accommodation passage | N/A | N/A | - | N/A | N/A | N/A | D-link | DGS-1016D | N/A
ComHub-AP1 | VLAN 22 | 172.18.22.5/24 | 172.18.22.2 | 172.18.0.10 | 172.20.0.10 | - | Admin | Cisco | Access Point | Radio Server room | F/W Ver: 6.07 |  | QX411I8002199 | 58:D5:6E:97:A3:BB | H/W Ver: F1 |  | D-Link | DAP-1360 | N/A
ScienceBlock-AP2 | VLAN 23 | 172.18.23.5/24 | 172.18.23.2 | 172.18.0.10 | 172.20.0.10 | - | Cisco | Cisco | Access Point | ScienceBlock Passage | 12.4(10b)JDA3 | Marion-Island-Sci-AP01 | FCZ1422Q0GZ | 5475.d09b.d5a8 | Bootloader Version: 12.3(8)JEA | - | Cisco | AIR-AP1131AG-E-K9 | N/A
Recreation-AP3 | VLAN 24 | 172.18.24.5/24 or 172.18.20.250 | 172.18.24.2 or 172.18.20.10 | 172.18.0.10 | 172.20.0.10 | N/A | UBNT | ubnt | Access Point | Recreation area Passage | XS2.ar2316.v3.2.2.4003.081114.1719 | N/A | - | 00:15:6D:AE:F8:66 | N/A | N/A | Ubiquiti networks | Bullet2 | N/A
Accommodation-AP4 | VLAN 25 | 172.18.25.5/24 | 172.18.25.2 | 172.18.0.10 | 172.20.0.10 | N/A | UBNT | ubnt | Access Point | Accommodation area passage |  | N/A | - |  | N/A | N/A | Ubiquiti networks | Bullet2 | N/A | VLAN 25 changed temporarily to VLAN 27. VLAN 25 & 26 are not connecting to the internet. Looking into this issue.
Bar+Braai-AP5 | VLAN 26 | 172.18.26.5/24 | 172.18.26.2 | 172.18.0.10 | 172.20.0.10 | N/A | UBNT | ubnt | Access Point | TV Lounge ceiling | XS2.ar2316.v3.2.2.4003.081114.1719 | N/A | - | 00:15:6D:AE:F3:A0 | N/A | N/A | Ubiquiti networks | Bullet2 | N/A
HeliHanger-AP6 | VLAN 27 | 172.18.27.5/24 | 172.18.27.1 | 172.18.0.10 | 172.20.0.10 | N/A | UBNT | ubnt | Access Point | Heli Hanger Radio room | XS2.ar2316.v3.5.4476.091013.1749 | N/A | 094200156DE8F8E6 | 00:15:6D:E9:F8:E6 | N/A | N/A | Ubiquiti networks | Bullet2 | N/A
Mikrotik-R1 | Ether1 | 172.18.0.10/24 | - | 172.18.0.10 | 172.20.0.10 | N/A | root | !Mikr0Tik@Mari0n#97! | Router | Radio Server room | 6.40.3 (stable) | N/A | 3AD102E87C9D |  |  |  | Mikrotik | RB1100AHx2 | N/A
SatModem1 | - | 172.18.0.1/24 | 172.18.0.10 | 172.18.0.10 | 172.20.0.10 | N/A | comtech | comtech | Modem | Satelite Dome | FW10875R 1.5.4 10/28/07 (IP module) | N/A | 071358825 | 0006B000974C | N/A | N/A | Comtech | CDM-570L0-17 L-band satellite | N/A
SatModem2 | - | 172.18.0.1/24 | 172.18.0.10 | 172.18.0.10 | 172.20.0.10 | N/A | comtech | comtech | Modem | Radio Server room | FW10875R 1.5.4 10/28/07 (IP module) | N/A | 072286806 | N/A | N/A | N/A | Comtech | CDM-570L0-17 L-band satellite | AH0000000043760
FTP server 1/Radio room PC1 | VLAN 11 | 172.18.11.3/24 and 172.18.22.150/24 | 172.18.11.2 & 172.18.22.2/24 | 172.18.0.10 | 172.20.0.10 | N/A | Radio Room 1 | marion | FTP server or PC | Radio Room | Windows 10 Pro | N/A | 164029860000190 | D4-5D-DF-05-8F-EE | N/A | N/A | Mecer | JPT/H110 | AH0000000091838
FTP server 2/ Radio room PC2 | VLAN 11 | 172.18.11.4/24 and 172.18.22.151/24 | 172.18.11.2 | 172.18.0.10 | 172.20.0.10 | N/A | Marion2 | marion2 | FTP server or PC | Radio Room | Windows 10 Pro | ftp.marion2 | 164029860000049 | D4-5D-DF-05-8F-8C | N/A | N/A | Mecer | JPT/H110 | AH0000000091837
E-Workshop PC1 | VLAN 11 | 172.18.11.6/24 | 172.18.11.2 | 172.18.0.10 | 172.20.0.10 | N/A | Marion PC2 | marion | PC | Electronic Workshop | Windows 7 | N/A | DLW36Y1 | B8-CA-3A-81-64-45 | N/A | N/A | Dell | OptiPlex 9010 | AH0000000079610
DCO PC | VLAN 11 | 172.18.11.9/24 | 172.18.11.2 | 172.18.0.10 | 172.20.0.10 | N/A | Comms technician | marion | PC | DCO office | Windows 7 (Ultimate) | N/A | CZC0111T98 | F4-CE-46-EF-0A-7B | N/A | N/A | HP | HP pro 3010 MT
PABX control PC | VLAN 11 | 172.18.11.8/24 | 172.18.11.2 | 172.18.0.10 | 172.20.0.10 | N/A | PBX Control PC | marion | PC | Radio Server room | Windows XP Professional (32-bit) | MV300 | ZAB60801FJ | 00-0F-FE-2D-E6-AD | N/A | N/A | HP | DX6120 (DSDT) | AH0000000054362
IBMS PC | VLAN 11 | 172.18.11.7/24 | 172.18.11.2 | 172.18.0.10 | 172.20.0.10 | N/A | Comms technician & Administrator | marion & Marion@2015 | PC | Radio Server room | Windows XP Professional (32-bit) | N/A | CDB0303074 | N/A | N/A | N/A | Mecer | IPC-611MB-00X (D865GLC) | N/A
Network Printer | VLAN 11 | 172.18.11.5/24 | 172.18.11.2 | 172.18.18.0.10 | 172.18.20.0.10 | N/A | Marion | marion | Network Printer | Radio Room | HP | Radio_room_printer | CNFTC7B0D5 | 9c:8e:99:88:2c:7f | N/A | N/A | HP | HP Color LaserJet CM2320nf MFP | N/A | N/A
Movie house PC | VLAN 14 | 172.18.14.15/24 | 172.18.14.2 | 172.18.18.0.10 | 172.18.20.0.10 | N/A | Comms Technician | communications | PC | Movie House | Windows 8 (32-bit) | BaseEngineer | CZC0331Z90 | D4-85-64-02-89-06 | N/A | N/A | HP | Compaq 8100 elite | AH0000000059891
ECO Desktop PC | VLAN 1 | 172.18.0.130/24 | 172.18.0.10 | 172.18.18.0.10 | 172.18.20.0.10 | N/A | Comms Technician | marion | PC | Room AF32 (Blue Corridor) | Windows 7 | N/A | H4Y4322 | N/A | N/A | N/A | Dell | Optiplex 9020 | AH0000000082845 | N/A | Screen is taken by M77 Diesel mechanic (AJ)
Diesel mechanic PC | VLAN 21 | 172.18.21.3/24 | 172.18.21.2 | 172.18.18.0.10 | 172.18.20.0.10 | N/A | Comms Technician | marion | PC | Diesel mechanic Office | Windows 7 | N/A |  |  | N/A | N/A |  |  | AH00000000?????
Base Engineer PC | VLAN 21 | 172.18.21.4/24 | 172.18.21.2 | 172.18.18.0.10 | 172.18.20.0.10 | N/A | Comms Technician | marion | PC | Base Engineer Office | Windows 7 | N/A |  |  | N/A | N/A |  |  | AH00000000????? | N/A
Medic PC | VLAN 14 | 172.18.14.4/24 | 172.18.14.2 | 172.18.18.0.10 | 172.18.20.0.10 | N/A | Comms Technician | marion | PC | Medic Office | Windows 7 | N/A |  |  | N/A | N/A |  |  | AH00000000????? | N/A
SAWS office PC1 | VLAN 12 | 172.18.12.25/24 | 172.18.12.2 | 172.18.18.0.10 | 172.18.20.0.10 | N/A | Fame | None | PC | SAWS office Office | Windows 10 Pro | N/A |  |  | N/A | N/A |  |  | AH00000000????? | N/A
SAWS AWS PC | VLAN 12 | 172.18.12.30/24 | 172.18.12.2 | 172.18.18.0.10 | 172.18.20.0.10 | N/A | Fame | Fame | PC | SAWS AWS Office | Windows 10 Pro | N/A |  |  | N/A | N/A |  |  | AH00000000????? | N/A
SAWS Upper Air office PC1 | VLAN 12 | 172.18.12.32/24 | 172.18.12.2 | 172.18.18.0.10 | 172.18.20.0.10 | N/A | Fame | Fame | PC | SAWS Upper Air office Office | Windows XP Professional (32-bit) | N/A |  |  | N/A | N/A |  |  | AH00000000????? | N/A
SAWS Upper Air office PC2 | VLAN 12 | 172.18.12.36/24 | 172.18.12.2 | 172.18.18.0.10 | 172.18.20.0.10 | N/A | Fame | Fame | PC | SAWS Upper Air office Office | Windows XP Professional (32-bit) | N/A |  |  | N/A | N/A |  |  | AH00000000????? | N/A
Main Vocality | VLAN 1 | 172.18.0.2/24 | 172.18.0.10 | - | - | N/A | N/A | N/A | Voice Mux/Demux | Radio Server room | Version 04_07.01 H/W RevC | marion | 68150/60260 | N/A | N/A | N/A | Vocality international | 68150 (V150)
Spare Vocality | VLAN 1 | 172.18.0.2/24 | 172.18.0.10 | - | - | N/A | N/A | N/A | Voice Mux/Demux | Radio Server room | Version 04_07.01 H/W RevC | marion | 68150/60103 | N/A | N/A | N/A | Vocality international | 68150 (V150)
PABX to PA interface system | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PBX to PA interface | Radio Server room | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SS-22 | N/A
PA system management amplifier | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PA amplifier | Radio Server room | N/A | N/A | N/A | N/A | N/A | N/A | TOA | VM-2240 | AH0000000063200
PABX system | N/A | N/A | N/A | N/A | N/A | N/A | Marion Eiland V5 | N/A | PBX | Radio Server room | CPU version: 4.195 | N/A | N/A | N/A | N/A | N/A | Tellumat | ISX 500 | N/A
QNAP NAS Drive | VLAN 11 | 172.18.11.11/24 | 172.18.11.2 | 172.18.0.10 | 172.20.0.10 | N/A | admin | marion | Network storage | Radio Server room | 4.2.1 (20160419) | sanapQNAPnas | Q167I15880 | 245EBE0548BA | Cloud key: Q5848-5300 | 52100-002306-RS | QNAP Systems | TS-453A | AH0000000089468
245EBE0548BB
245EBE0548BC
245EBE0548BD
Vivix X-Ray desktop PC | VLAN 14 | 172.18.14.3/24 | 172.18.14.2 | 172.18.18.0.10 | 172.18.20.0.10 | N/A | Vivix | admin | PC | Recovery room | Windows 10 | N/A | J21T5V2 | N/A | N/A | N/A | Dell | OptiPlex 3060 | N/A
Vivix Panel/detector | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Detector | Recovery room | N/A | N/A | V6DAIB023 | N/A | N/A | N/A | VIVIX-S | FXRD-1417WB | AH0000000093010 | N/A
Vivix System Control Unit (SCU) | N/A | 169.254.2.100/16 | N/A | N/A | N/A | N/A | service | service | System Control Unit | Recovery room | N/A | N/A | V5SAGX208 | N/A | N/A | N/A | VIVIX-S | FXRS-03A | N/A | N/A
Vivix battery charger | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Recovery room | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Vivix X-Ray generator/machine | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Recovery room | N/A | N/A | 02/18-29698 | N/A | N/A | N/A | IMD Generators | E-100R HF XR03 C | N/A | N/A
Radio technician Laptop | VLAN 28 | 172.18.28.155/24 | 172.18.28.2 | 172.18.18.0.10 | 172.18.20.0.10 | N/A | Marion | marion | PC | Accommodation Room AF32 | Windows 10 | Marion_NB | 9V3SNQ2 | 10-65-30-7D-BF-F9 | N/A | N/A | Dell | Latitude 5490 | AH0000000092251

## NAS drive users
Number | User | Username | Password
1 | Administrator | Admin | marion
2 | Radio Technician | Radio technician | radio (changed to communications)
3 | Base Engineer | Base engineer | base
4 | Diesel Mechanic | Diesel mechanic | diesel
5 | Medic Officer | Medic officer | medic
6 | ECO Officer | ECO officer | eco
7 | ECO Assistant | ECO officer | eco
8 | M76 user | M76 user | m76

## VLAN list
VLAN List
VLAN ID | Name | Core-Sw01 Interface assignment | ScienceBlock-Sw01 Interface assignment | TechnicalBlock-Sw01 Interface assignment (Still have unmnaged switch) | Heli-Hanger-Sw01 Interface assignment | Sat-Dome-Sw01 Interface assignment
5 | Management | None | None | None | None | None
11 | Radio | G2/0/4-12 | None | None | G1/0/1-2 , G1/0/4-6 | G1/0/10
12 | SAWS | None | G2/0/1-4 | None | None | G1/0/7 (still testing)
13 | ECOs | None | G1/0/5-7 | None | None | None
14 | Medic | G2/0/1-3 | None | None | None | None
15 | Sealers | None | G1/0/2-4 , G2/0/9-11 | None | None | None
16 | Botanists+Winders | None | G1/0/13-18 , G2/0/12-15 | None | None | None
17 | GEOs | None | G1/0/10 , G2/0/7-8 | None | None | None
18 | Birders | None | G1/0/19-23 , G2/0/16-18 | None | None | None
19 | SANSA | None | G1/0/8-9 | None | None | G1/0/9
21 | Engineering | None | G1/0/1 | None | None | None
22 | ComHub-AP1 | G2/0/15 | None | None | None | None
23 | ScienceBlock-AP2 | None | G1/0/24 | None | None | None
24 | Recreation-AP3 | None | G2/0/19 | None | None | None
25 | Accommodation-AP4 | G2/0/14 | None | None | None | None
26 | Bar+Braai-AP5 | None | None | None | None | None
27 | HeliHanger-AP6 | None | None | None | G1/0/3 | None
28 | AllRooms | G2/0/13 | G2/0/5-6 | None | None | None
29 | Library+Conference | None | G1/0/12-13 | None | None | None
30 | SAWS + SANSA | G2/0/22 | G1/0/8-9 , G2/0/1-4 | None | None | None | Still testing this VLAN
20 | Sealers-VLAN20 | None | G2/0/4 | None | None | None | Still testing this VLAN

## Core-Sw01 connected ports
VLAN List
Cisco Switch | Interface/switchports | VLAN ID | VLAN Name | Device Connected location
Core-Sw01 | G1/0/1-2 | 1 | None | ScienceBlock server room
Core-Sw01 | G1/0/3-4 | 1 | None | Reserved for TechnicalBlock server room
Core-Sw01 | G1/0/5-6 | 1 | None | Satellite Dome
Core-Sw01 | G1/0/7-12 | 1 | None | None
Core-Sw01 | G2/0/1-3 | 14 | Medic | Clinic
Core-Sw01 | G2/0/4-12 | 11 | Radio | Radio room, DCO office, Radio server room, Electronic workshop
Core-Sw01 | G2/0/13 | 28 | AllRooms | Blue corridor Room AF32
Core-Sw01 | G2/0/14 | 25 | Accommodation-AP4 | Green corridor Ceiling
Core-Sw01 | G2/0/15 | 22 | ComHub-AP1 | Radio server room
Core-Sw01 | G2/0/16 | 1 | None | Radio server room
Core-Sw01 | G2/0/17-21 | 1 | None | Radio server room
Core-Sw01 | G2/0/22 | 1 | None | TechnicalBlock server room
Core-Sw01 | G2/0/23 | 1 | None | Green corridor Ceiling
Core-Sw01 | G2/0/24 | 1 | None | Radio server room
Core-Sw01 | G2/0/25-28 | 1 | None | None

## Core switch Sw01 switchports
ScienceBlock-Sw01 switchport assignement
Switchport# | Port mode | Duplex/ speed (Mb/s) | VLAN ID | VLAN name | Device connected | Device connected IP | Default gateway | Remote Device connected interface | Location | Wall LAN point # | Status
G1/0/1 | Trunk | Full/1000 | 1 | N/A | ScienceBlock-Sw01 | 172.18.5.3/24 | 172.18.5.2 | G1/0/25 | ScienceBlock server room | N/A | UP
G1/0/2 | Trunk | Full/1000 | 1 | N/A | ScienceBlock-Sw01 | 172.18.5.3/24 | 172.18.5.2 | G2/0/25 | ScienceBlock server room | N/A | UP
G1/0/3 | Trunk | Full/1000 | 1 | N/A | TechnicalBlock-Sw01) | 172.18.5.4/24 | 172.18.5.2 | G1/0/25 | TechnicalBlock server room | N/A | UP
G1/0/4 | Trunk | Full/1000 | 1 | N/A | TechnicalBlock-Sw01) | 172.18.5.4/24 | 172.18.5.2 | G1/0/26 | TechnicalBlock server room | N/A | Down
G1/0/5 | Trunk | Full/1000 | 1 | N/A | SatDome-Sw01 | 172.18.5.5/24 | 172.18.5.1 | G1/0/28 | SatDome | N/A | UP
G1/0/6 | Trunk | Full/1000 | 1 | N/A | SatDome-Sw01 | 172.18.5.5/24 | N/A | Unknown | SatDome | N/A | Disabled
G1/0/7 | Trunk | Full/1000 | 1 | N/A | None | None | N/A | None | N/A | N/A | Disabled
G1/0/8 | Trunk | Full/1000 | 1 | N/A | None | None | N/A | None | N/A | N/A | Disabled
G1/0/9 | Trunk | Full/1000 | 1 | N/A | None | None | N/A | None | N/A | N/A | Disabled
G1/0/10 | Trunk | Full/1000 | 1 | N/A | None | None | N/A | None | N/A | N/A | Disabled
G1/0/11 | Trunk | Full/1000 | 1 | N/A | None | None | N/A | None | N/A | N/A | Disabled
G1/0/12 | Trunk | Full/1000 | 1 | N/A | None | None | N/A | None | N/A | N/A | Disabled
G2/0/1 | Access | Full/1000 | 14 | Medic | None | DHCP | 172.18.14.2 | NIC | Hospital recovery room | 4 | down
G2/0/2 | Access | Full/1000 | 14 | Medic | None | DHCP | 172.18.14.2 | NIC | Hospital theatre room | 6 | down
G2/0/3 | Access | Full/100 | 14 | Medic | Medic PC | DHCP | 172.18.14.2 | NIC | Medic office | 8 | UP
G2/0/4 | Access | Full/1000 | 11 | Radio | DCO PC | 172.18.11.9/24 | 172.18.11.2 | NIC | DCO office | 16 | UP
G2/0/5 | Access | Full/1000 | 11 | Radio | Radio room PC2 | 172.18.11.4/24 | 172.18.11.2 | NIC | Radio room | 10 | UP
G2/0/6 | Access | Full/100 | 11 | Radio | Network printer | 172.18.11.5/24 | 172.18.11.2 | NIC | Radio room | 12 | UP
G2/0/7 | Access | Full/1000 | 11 | Radio | Radio room PC1 | 172.18.11.3/24 | 172.18.11.2 | NIC | Radio room | 14 | UP
G2/0/8 | Access | Full/1000 | 11 | Radio | NAS drive | 172.18.11.11/24 | 172.18.11.2 | LAN 1 | Radio room | N/A | UP
G2/0/9 | Access | Full/1000 | 11 | Radio | IBMS PC | 172.18.11.7 | 172.18.11.2 | NIC | Radio server room | 18 | UP
G2/0/10 | Access | Full/1000 | 11 | Radio | PBX control PC | 172.18.11.8/24 | 172.18.11.2 | NIC | Radio server room | N/A | UP
G2/0/11 | Access | Full/1000 | 11 | Radio | Radio tech laptop | DHCP | 172.18.11.2 | NIC | Electronic workshop | 25 | DOWN
G2/0/12 | Access | Full/1000 | 11 | Radio | Radio tech laptop | 172.18.11.155/24 | 172.18.11.2 | NIC | Electronic workshop | 26 | UP
G2/0/13 | Access | Full/1000 | 11 | AllRooms | Radio tech laptop | 172.18.28.155/24 | 172.18.28.2 | NIC | Blue corridor room AF32 | N/A | UP
G2/0/14 | Access | Full/100 | 25 | Accommodation-AP4 | Accommodation-AP4 | 172.18.25.5/24 |  | NIC | Green corridor passage | N/A | UP
G2/0/15 | Access | Full/100 | 22 | ComHub-AP1 | ComHub-AP1 | 172.18.22.5/24 |  | NIC | Radio server room | N/A | UP
G2/0/16 | Trunk | Full/100 | 1 | N/A | Vocality | 172.18.0.2/24 |  | Ether 4 | Radio server room | N/A | UP
G2/0/17 | Trunk | Full/100 | 1 | N/A | Mikrotik | None |  | Ether 1 | Radio server room | N/A | UP
G2/0/18 | Trunk | Full/100 | 1 | N/A | Mikrotik | None |  | Ether 5 | Radio server room | N/A | Disabled
G2/0/19 | Trunk | Full/100 | 1 | N/A | Mikrotik | None |  | Ether 6 | Radio server room | N/A | Disabled
G2/0/20 | Trunk | Full/100 | 1 | N/A | Mikrotik | None |  | Ether 7 | Radio server room | N/A | Disabled
G2/0/21 | Trunk | Full/100 | 1 | N/A | Mikrotik | None |  | Ether 8 | Radio server room | N/A | Disabled
G2/0/22 | Trunk | Full/100 | 1 | N/A | TechnicalBlock-Sw01 | None |  | Ether 1 | TechnicalBlock server room | N/A | UP
G2/0/23 | Trunk | Full/1000 | 1 | N/A | None | None |  | Ether1 | Green corridor passage | N/A | UP
G2/0/24 | Trunk | Full/100 | N/A | N/A | Mikrotik | None |  | Ether 2 | Radio server room | N/A | UP
G2/0/25 | Trunk | Full/1000 | N/A | N/A | None | None |  | None | N/A | N/A | Disabled
G2/0/26 | Trunk | Full/1000 | N/A | N/A | None | None |  | None | N/A | N/A | Disabled
G2/0/27 | Trunk | Full/1000 | N/A | N/A | None | None |  | None | N/A | N/A | Disabled
G2/0/28 | Trunk | Full/1000 | N/A | N/A | None | None |  | None | N/A | N/A | Disabled

## ScienceBlock Sw02 switchports
ScienceBlock-Sw02 switchport assignement
Switchport# | Port mode | Duplex/ speed (Mb/s) | VLAN ID | VLAN name | Device connected | Device connected IP | Default gateway | Remote Device connected interface | Location | Wall LAN point # | Status | Comment
G1/0/1 | Access | Full/1000 | 21 | Engineering | PC | DHCP |  | NIC | Office 2 | 48 | UP
G1/0/2 | Access | Full/100 | 15 | Sealers | PC | DHCP |  | NIC | Sealers Office | 23 | Disabled
G1/0/3 | Access | Full/100 | 15 | Sealers | PC | DHCP |  | NIC | Sealers Office | 24 | Disabled
G1/0/4 | Access | Full/100 | 15 | Sealers | PC | DHCP |  | NIC | Sealers Office | 26 | Disabled
G1/0/5 | Access | Full/100 | 13 | ECOs | PC | DHCP |  | NIC | ECO office | 44 | Disabled
G1/0/6 | Access | Full/100 | 13 | ECOs | PC | DHCP |  | NIC | ECO office | 45 | Disabled
G1/0/7 | Access | Full/100 | 13 | ECOs | PC | DHCP |  | NIC | ECO office | 46 | Disabled
G1/0/8 | Access | Full/100 | 30 | SANSA+SAWS | Sansa unmanaged switch | None | N/A | SANSA-Sw01 | Sansa office | 42 | UP
G1/0/9 | Access | Full/1000 | 30 | SANSA+SAWS | N/A | None | N/A | N/A | Sansa office | 52 | DOWN
G1/0/10 | Access | Full/1000 | 17 | GEOs | PC | DHCP |  | NIC | GEO office | 40 | Disabled
G1/0/11 | Access | Full/1000 | 29 | Library + Conference | None | DHCP |  | NIC | Library | 22 | Disabled | No PC
G1/0/12 | Access | Full/1000 | 29 | Library + Conference | None | DHCP |  | NIC | Conference | 20 | Disabled | No PC
G1/0/13 | Access | Full/100 | 16 | Botanists | PC | DHCP |  | NIC | Botanist office | 34 | Disabled
G1/0/14 | Access | Full/100 | 16 | Botanists | PC | DHCP |  | NIC | Botanist office | 35 | Disabled
G1/0/15 | Access | Full/100 | 16 | Botanists | PC | DHCP |  | NIC | Botanist office | 36 | Disabled
G1/0/16 | Access | Full/100 | 16 | Botanists | PC | DHCP |  | NIC | Botanist office | 37 | Disabled
G1/0/17 | Access | Full/100 | 16 | Botanists | PC | DHCP |  | NIC | Botanist office | 38 | Disabled
G1/0/18 | Access | Full/100 | 16 | Botanists | PC | DHCP |  | NIC | Botanist office | 53 | Disabled
G1/0/19 | Access | Full/100 | 18 | Birder | PC | DHCP |  | NIC | Birder's office | 27 | Disabled
G1/0/20 | Access | Full/100 | 18 | Birder | PC | DHCP |  | NIC | Birder's office | 28 | Disabled
G1/0/21 | Access | Full/100 | 18 | Birder | PC | DHCP |  | NIC | Birder's office | 30 | Disabled
G1/0/22 | Access | Full/100 | 18 | Birder | PC | DHCP |  | NIC | Birder's office | 31 | Disabled
G1/0/23 | Access | Full/100 | 18 | Birder | PC | DHCP |  | NIC | Birder's office | 32 | Disabled
G1/0/24 | Access | Full/100 | 23 | Science-AP2 | Science-AP2 | 172.18.23.5/24 | 172.18.23.2 | NIC | ScienceBlock passage | None | UP
G1/0/25 | Trunk | Full/1000 | 1 | None | Core-Sw01 | 172.18.5.2/24 | 172.18.5.1 | G1/0/1 | Radio server room | N/A | UP
G1/0/26 | Trunk | Full/1000 | 1 | None | Not Connected (HeliHanger-Sw01) | N/A | N/A | G1/0/25 | Ebase server room | N/A | Disabled
G1/0/27 | Trunk | Auto/Auto | 1 | None | None | None |  | None | None | N/A | Disabled
G1/0/28 | Trunk | Auto/Auto | 1 | None | None | None |  | None | None | N/A | Disabled
G2/0/1 | Access | Full/1000 | 12 | SAWS | None | DHCP |  | NIC | SAWS office | 15 | DOWN
G2/0/2 | Access | Full/1000 | 12 | SAWS | None | DHCP |  | NIC | SAWS office | 16 | UP
G2/0/3 | Access | Full/1000 | 12 | SAWS | PC | 172.18.12.25/24 | 172.18.12.2 | NIC | SAWS office | 18 | UP
G2/0/4 | Access | Full/1000 | 12 | SAWS | None | DHCP |  | NIC | SAWS office | 54 | DOWN
G2/0/5 | Access | Full/1000 | 28 | AllRooms | None | DHCP | N/A | NIC | Recreation room R1 | Sci50 | DOWN
G2/0/6 | Access | Full/1000 | 28 | AllRooms | None | DHCP | N/A | NIC | Recreation room R2 | Sci51 | DOWN
G2/0/7 | Access | Full/1000 | 17 | GEOs | None | DHCP |  | NIC | Anciliary lab | 6 | Disabled
G2/0/8 | Access | Full/1000 | 17 | GEOs | None | DHCP |  | NIC | Anciliary lab | 56 | Disabled
G2/0/9 | Access | Full/1000 | 15 | Sealers | None | DHCP |  | NIC | Wet lab | 12 | Disabled
G2/0/10 | Access | Full/1000 | 15 | Sealers | None | DHCP |  | NIC | Wet lab | 13 | Disabled
G2/0/11 | Access | Full/1000 | 15 | Sealers | None | DHCP |  | NIC | Wet lab | 14 | Disabled
G2/0/12 | Access | Full/1000 | 16 | Botanists+Winders | None | DHCP |  | NIC | Analytical lab | 1 | Disabled
G2/0/13 | Access | Full/1000 | 16 | Botanists+Winders | None | DHCP |  | NIC | Analytical lab | 2 | Disabled
G2/0/14 | Access | Full/1000 | 16 | Botanists+Winders | None | DHCP |  | NIC | Analytical lab | 4 | Disabled
G2/0/15 | Access | Full/1000 | 16 | Botanists+Winders | None | DHCP |  | NIC | Analytical lab | 55 | Disabled
G2/0/16 | Access | Full/1000 | 18 | Birders | None | DHCP |  | NIC | Dry lab | 7 | Disabled
G2/0/17 | Access | Full/1000 | 18 | Birders | None | DHCP |  | NIC | Dry lab | 8 | Disabled
G2/0/18 | Access | Full/1000 | 18 | Birders | None | DHCP |  | NIC | Dry lab | 10 | Disabled
G2/0/19 | Access | Full/100 | 24 | Recreation-AP3 | Recreation-AP3 | 172.18.24.5/24 | 172.18.24.2 | NIC | Recreation passage (on the ceiling) | N/A | UP
G2/0/20 | Access | Full/100 | 12 | SAWS | AWS PC | 172.18.12.30/24 | 172.18.12.2 | NIC | Sat.Dome | Unknown | UP | AWS SAWS PC
G2/0/21 | Access | Full/100 | 30 | SANSA+SAWS | SANSA-Sw02 | N/A | N/A | Port# 1 | Sansa office | ? | UP
G2/0/22 | Access | Full/1000 | 30 | SANSA+SAWS | N/A | N/A | N/A | N/A | Sansa office | 58 | DOWN
G2/0/23 | Access | Full/1000 | 1 | None | Unknown | DHCP |  | Unknown | Unknown | Unknown | Disabled
G2/0/24 | Access | Full/1000 | 1 | None | Unknown | DHCP |  | Unknown | Unknown | Unknown | Disabled
G2/0/25 | Trunk | Full/1000 | 1 | None | Core-Sw01 | 172.18.5.2/24 | 172.18.5.1 | G1/0/2 | Radio server room | N/A | UP
G2/0/26 | Trunk | Full/1000 | 1 | None | Not Connected (HeliHanger-Sw01) | N/A | 172.18.5.2 | G1/0/26 | Ebase server room | N/A | Disabled
G2/0/27 | Trunk | Auto/Auto | 1 | None | None | N/A | N/A | None | None | N/A | Disabled
G2/0/28 | Trunk | Auto/Auto | 1 | None | None | N/A | N/A | None | None | N/A | Disabled

## HeliHanger-Sw01
HeliHanger-Sw01 switchport assignement (This switch has been relocated to the Technical block switch rack).
Switchport# | Port mode | Duplex/ speed (Mb/s) | VLAN ID | VLAN name | Device connected | Device connected IP | Default gateway | Remote Device connected interface | Location | Wall LAN point # | Status | Comment
G1/0/1 | Access | Full/1000 | 11 | Radio | None | DHCP | 172.18.11.2 | None | Ebase radio room | 3 | DOWN | Cable works, however, the network tester showed results of 'failed wire map, attenuation, ACR, RL etc.. Cable failed the test
G1/0/2 | Access | Full/1000 | 11 | Radio | None | DHCP | 172.18.11.2 | None | Ebase radio room | 6 | DOWN | Cable 6 failed the network test with a fluke network analyzer. The tester showed an 'excessive near-end NEXT, patch cable bad or patch cable too short'. The cable can connect to the network but it has a very long delay before a cable gets detected by the PC.
G1/0/3 | Access | Full/100 | 27 | HeliHanger-AP6 | Heli Hanger -AP6 | 172.18.27.5/24 | 172.18.27.2 | Ether0 | Ebase radio room | 7 | DOWN | Cable 7 passed the cable test with a fluke network analyzer. Reason for 100Mb/s port speed is that if port speed is set to 1000Mb/s, the Access Point goes down. So AP is probably not configured to sense 1000Mb/s link connections
G1/0/4 | Access | Full/1000 | 11 | Radio | None | DHCP | 172.18.11.2 | None | Ebase radio room | 8 | DOWN | Fluke network tester showed 'noise detected and cable length of 19.7m. Cable also showed that pin 5 had open connection and an incorrect cable length was also shown to be 0,6m. However, when I performed a seconf cable test, the cable passed the test.
G1/0/5 | Access | Full/1000 | 11 | Radio | None | DHCP | 172.18.11.2 | None | Ebase radio room | 9 | DOWN | Fluke network tester showed a cable length of 19,9m. The cable passed the test.
G1/0/6 | Access | Full/1000 | 11 | Radio | None | DHCP | 172.18.11.2 | None | Ebase radio room | 10 | DOWN | The Fluke cable test showed that there is 'noise detected'. However, the cable passed the test with the tester.
G1/0/7 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/8 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/9 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/10 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/11 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/12 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/13 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/14 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/15 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/16 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/17 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/18 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/19 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/20 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/21 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/22 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/23 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/24 | Access | Full/100 | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/25 | Trunk | Full/1000 | 1 | None | ScienceBlock-Sw01 | 172.18.5.3 | N/A | ScienceBlock server room | N/A | N/A | UP
G1/0/26 | Trunk | Full/1000 | 1 | None | ScienceBlock-Sw01 | 172.18.5.3 | N/A | ScienceBlock server room | N/A | N/A | UP
G1/0/27 | Trunk | Auto/Auto | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled
G1/0/28 | Trunk | Auto/Auto | 1 | None | None | DHCP | N/A | N/A | N/A | N/A | Disabled

## SatDome-Sw01
SatDome-Sw01 switchport assignement
Switchport# | Port mode | Duplex/ speed (Mb/s) | VLAN ID | VLAN name | Device connected | Device connected IP | Default gateway | Remote Device connected interface | Location | Wall LAN point # | Status | Comment
G1/0/1 | Trunk | Full/100 | 1 | None | Satelite Modem | 172.18.0.1/24 | 172.18.0.10 | Traffic port | SatDome | N/A | UP | Sat. Modem maximum link speed that it supports is 100Mb/s
G1/0/2 | Trunk | Full/100 | 1 | None | Mikrotik | 172.18.0.10/24 | N/A | Ether2 | SatDome | N/A | Disabled | MikroTik router loses link connection when its interface is set to 1000Mb/s/full duplex
G1/0/3 | Trunk | Full/100 | 1 | None | Mikrotik | 172.18.40.190/26 | N/A | Ether5 | SatDome | N/A | Disabled | MikroTik router loses link connection when its interface is set to 1000Mb/s/full duplex
G1/0/4 | Trunk | Full/100 | 1 | None | Mikrotik | 172.18.10.10/24 | N/A | Ether6 | SatDome | N/A | Disabled | MikroTik router loses link connection when its interface is set to 1000Mb/s/full duplex
G1/0/5 | Trunk | Full/100 | 1 | None | Mikrotik | 172.18.20.10/24 | N/A | Ether7 | SatDome | N/A | Disabled | MikroTik router loses link connection when its interface is set to 1000Mb/s/full duplex
G1/0/6 | Trunk | Full/100 | 1 | None | Mikrotik | 172.18.30.10/24 | N/A | Ether8 | SatDome | N/A | Disabled | MikroTik router loses link connection when its interface is set to 1000Mb/s/full duplex
G1/0/7 | Access | Full/100 | 1 | None | SAWS PC | 172.18.30.30/24 | 172.18.30.10 | Ether0 | SatDome | N/A | Disabled
G1/0/8 | Access | Full/100 | 1 | None | Media converter | None | N/A | Ether0 | SatDome | N/A | Disabled
G1/0/9 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/10 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/11 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/12 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/13 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/14 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/15 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/16 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/17 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/18 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/19 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/20 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/21 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/22 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/23 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/24 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/25 | Trunk | Auto/Auto | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/26 | Trunk | Auto/Auto | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/27 | Trunk | Auto/Auto | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/28 | Trunk | Full/1000 | 1 | None | Core-Sw01 | 172.18.5.2/24 | 172.18.5.1 | G1/0/5 | Radio server room | N/A | UP

## TechnicalBlock Sw01
TechnicalBlock-Sw01 switchport assignement
Switchport# | Port mode | Duplex/ speed (Mb/s) | VLAN ID | VLAN name | Device connected | Device connected IP | Default gateway | Remote Device connected interface | Location | Wall LAN point # | Status | Comment
G1/0/1 | Access | Full/1000 | 11 | Radio | N/A | N/A | N/A | N/A | N/A | N/A | Disabled | Reserved for Ebase Wall LAN ports
G1/0/2 | Access | Full/1000 | 11 | Radio | N/A | N/A | N/A | N/A | N/A | N/A | Disabled | Reserved for Ebase Wall LAN ports
G1/0/3 | Access | Full/100 | 27 | HeliHanger-AP6 | N/A | N/A | N/A | N/A | N/A | N/A | Disabled | Reserved for Ebase Wall LAN ports
G1/0/4 | Access | Full/1000 | 11 | Radio | N/A | N/A | N/A | N/A | N/A | N/A | Disabled | Reserved for Ebase Wall LAN ports
G1/0/5 | Access | Full/1000 | 11 | Radio | N/A | N/A | N/A | N/A | N/A | N/A | Disabled | Reserved for Ebase Wall LAN ports
G1/0/6 | Access | Full/1000 | 11 | Radio | N/A | N/A | N/A | N/A | N/A | N/A | Disabled | Reserved for Ebase Wall LAN ports
G1/0/7 | Access | Full/100 | 30 | SAWS+SANSA | SAWS PC | 172.18.30.32/24 | 172.18.30.10 | PC NIC | SAWS Upper air office | 7 | UP | SAWS PC 1 at the Upper air office
G1/0/8 | Access | Full/100 | 30 | SAWS+SANSA | SAWS PC | 172.18.30.36/24 | N/A | PC NIC | SAWS Upper air office | N/A | UP | SAWS PC 2 at the Upper air office
G1/0/9 | Access | Full/1000 | 21 | Engineering | Diesel mech PC | 172.18.21.27/24 | 172.18.21.2/24 | PC NIC | Diesel mech office | 6 | Down | Diesel mech PC at the diesel mech office
G1/0/10 | Access | Full/100 | 26 | Bar+Braai-AP5 | Bar+Braai-AP5 | 172.18.26.5/24 | 172.18.26.2/24 | PC NIC | TV Lounge | N/A | UP | Bar+Braai-AP5 at the TV lounge
G1/0/11 | Access | Full/100 | 19 | SANSA | SANSA AP | N/A | N/A | PC NIC | Technical switch rack | N/A | UP | SANSA AP inside the technical switch rack
G1/0/12 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/13 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/14 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/15 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/16 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/17 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/18 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/19 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/20 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/21 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/22 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/23 | Access | Full/100 | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/24 | Access | Full/1000 | 1 | None | Core-Sw01 | 172.18.5.2/24 | 172.18.5.2 | G2/0/22 | Radio server room | N/A | Disabled | Backup/redundant link to the fiber cable from the Radio server room
G1/0/25 | Trunk | Auto/Auto | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/26 | Trunk | Auto/Auto | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/27 | Trunk | Auto/Auto | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled
G1/0/28 | Trunk | Auto/Auto | 1 | None | None | N/A | N/A | N/A | N/A | N/A | Disabled

## TechnicalBlock Sw01 (removed)
Technical block Sw01 switchport assignment (unmanaged 8-port D-link switch)
Switchport# | Port mode | Duplex/ speed (Mb/s) | VLAN ID | VLAN name | Device connected | Device connected IP | Default gateway | Remote Device connected interface | Location | Wall LAN point # | Status | Comment
G1/0/1 | Unmanaged | Unmanaged | Unmanaged | Unmanaged | Core switch | 172.18.5.2/24 | 172.18.5.1 | G2/0/22 | Radio server room | - | UP | Cable is 80m long. Tested and failed attenuation.
G1/0/2 | Unmanaged | Full/100 | Unmanaged | Unmanaged | SAWS office PC | 172.18.30.32/24 | 172.18.30.10 | Ether0 | SAWS office | 7 | UP
G1/0/3 | Unmanaged | Full/100 | Unmanaged | Unmanaged | SAWS office PC | 172.18.30.36/24 | 172.18.30.10 | Ether0 | SAWS office | None | UP
G1/0/4 | Unmanaged | Unmanaged | Unmanaged | Unmanaged | Diesel Mechanic PC | 172.18.30.? | 172.18.30.10 | Ether0 | Diesel Mechanic office | 6 | UP
G1/0/5 | Unmanaged | Full/100 | Unmanaged | Unmanaged | Bar+Braai-AP5 | 172.18.30.245/24 | 172.18.30.10 | Ether0 | Bar+Braai area | None | UP | The LAN cable has noise on it, pin 7 is broken. This cable needs to be reterminated at the Bar+Braai area Wall point
G1/0/6 | Unmanaged | Full/100 | Unmanaged | Unmanaged | SANSA wireless transceiver | ? | 172.18.30.10 | Ether0 | TechnicalBlock rack | None | UP
G1/0/7 | Unmanaged | Unmanaged | Unmanaged | Unmanaged | None | N/A |  | N/A | N/A | N/A | DOWN
G1/0/8 | Unmanaged | Unmanaged | Unmanaged | Unmanaged | None | N/A |  | N/A | N/A | N/A | DOWN

## Switches trunk ports
Switches
Device | Port mode | Duplex/ speed (Mb/s) | Switchports | VLAN ID | VLAN name | Comment
Core-SW01 | Trunk | Full/1000 | G1/0/1-12 , G2/0/16 , G2/0/22-28 | 99 | NATIVE
Core-SW01 | Trunk | Full/100 | G2/0/17-21 | 99 | NATIVE | Connects to Mikrotik router
ScienceBlock-Sw01 | Trunk | Full/1000 | G1/0/25-28 | 99 | NATIVE
ScienceBlock-Sw01 | Trunk | Full/1000 | G1/0/25-28 | 99 | NATIVE
HeliHanger-Sw01 | Trunk | Full/1000 | G1/0/25-28 | 99 | NATIVE
SatDome-Sw01 | Trunk | Full/1000 | G1/0/25-28 | 99 | NATIVE
Technical-Sw01 | Trunk | Full/1000 | G1/0/25-28 | 99 | NATIVE